## eff calc
Efficiency Calculation for Well Germanium Detectors
Standard Name: | IAEA-300 Baltic Sea Marine Sediment |  |  |  |  | Date Counted: | 2010-11-02
Net Weight: | 3 | g |  |  |  | Date Calculated: | 2010-11-03 | background
Live Time: | 146172 | sec |  |  |  | Analyst: | Bjoern Wissel
Height in Vial: | 35 | mm |  |  |  | Background Updated: | 2007-08-02 | 95713
Spectrum File: | 2811wg.cnf |  |  |  |  | Certification Date: | 1993-01-01
[8 empty] | 107 | 93 | 178 | 69 | 12
Nuclide | Pb-210 | Pb-214 | Pb-214 | Bi-214 | Cs-137 |  |  | 67 | 49 | 45 | 37 | 49
Energy (keV) | 46.539 | 295.207 | 351.925 | 609.318 | 661.66 |  |  | 0.067076 | 0.058299 | 0.11158 | 0.043254 | 0.0075225
Intensity (%) | 4.05 | 19.24 | 37.17 | 46.1 | 85.21 |  |  | 0.042001 | 0.030717 | 0.028209 | 0.023194 | 0.030717
Net Peak Area | 2879 | 1696 | 3133 | 1129 | 35044
± uncertainity | 141 | 97 | 104 | 65 | 204
CPM | 1.1818 | 0.69617 | 1.286 | 0.46343 | 14.3847
± error | 0.057877 | 0.039816 | 0.042689 | 0.026681 | 0.083737
Background CPM | 0.067076 | 0.058299 | 0.11158 | 0.043254 | 0.0075225
± error | 0.042001 | 0.030717 | 0.028209 | 0.023194 | 0.030717
Net CPM | 1.1147 | 0.63787 | 1.1744 | 0.42017 | 14.3772
± error | 0.071511 | 0.050288 | 0.051168 | 0.035353 | 0.089193
Activity (dpm/g) | 13.85 | 3.3899 | 3.3899 | 3.3899 | 42.49
± uncertainity | 0.90254 | 1.0384 | 1.0384 | 1.0384 | 0.38224
% Efficiency | 66.2408 | 32.5999 | 31.0691 | 8.9623 | 13.2366
± % eff error | 6.0574 | 10.3112 | 9.6126 | 2.8469 | 0.14465

## decay corr
Summary of Standard Reference Material Activities
Three activities are reported: |  | #1 = initial certified activity as reported by agency;
#2 = the decay corrected activity to date of counting (counting date must be changed to reflect your date of interest); and
#3 = the decay corrected activity converted from Bq/kg to dpm/g.
Counting Date: | 2010-11-02
|  | Time | Pb-210 | Am-241 | U-238 | Th-228 | Th-232 | Ra-226 | Ra-228 | Cs-134 | Cs-137 | Co-60 | K-40
|  | Since | 46 | 59 | 63/92 | 238.1 | 238.1 | 6 peaks | 338/911 | 604 | 661 | 1174/1332 | 1460
Standard | Ref. Date | Cert. | 22.3 | 432.7 | 4500000000 | 1.913 | 14000000000 | 1620 | 5.76 | 754.28 | 30.17 | 5.271 | 1300000000
(±1s) | (check units) | (days) | years | years | years | years | years | years | years | days | years | years | years
IAEA-300 |  |  | 360 | 1.38 | 64.7 | 64 | 72.4 | 56.5 | 61.6 | 66.6 | 1066.6 | 1.5 | 1059 | initial certified activity
marine sediment | Bq/kg |  | 14 | 0.075 | 1.925 | 10.6 | 4.55 | 17.35 | 1.225 | 0.75 | 8.5 | 0.125 | 9.25
IAEA-300 | 1993-01-01 | 6514 | 230.8457 | 1.3411 | 64.7 | 64 | 72.4 | 56.5 | 61.6 | 0.16764 | 708.1 | 0.14358 | 1059 | decay corrected activity
| Bq/kg |  | 12.7479 | 0.072887 | 1.93 | 10.6 | 1.93 | 17.2182 | 1.23 | 0.0018879 | 5.643 | 0.011965 | 9.25
IAEA-300 |  |  | 13.8505 | 0.080465 | 3.8819 | 3.8399 | 4.3439 | 3.3899 | 3.6959 | 0.010058 | 42.4852 | 0.0086143 | 63.5387 | decay corrected activity
| dpm/g |  | 0.76486 | 0.0043731 | 0.1158 | 0.63599 | 0.1158 | 1.0331 | 0.073799 | 0.00011327 | 0.33857 | 0.00071786 | 0.55499

## activity calc 1
GAMMA ANALYSIS OF SAMPLE IN A PETRIDISH
Sample Name: | IAEA 300 Baltic Sea sediment |  |  | Count Began: | 2010-11-02
Weight: | 3 | grams |  | Calculated On: | 2010-11-03 | Absorption Correction
Live Time: | 146172 | seconds |  | Reduced By: | Bjoern | Disabled !!!!! Set to 1
Geometry: |  |  |  | Background Updated: | 2010-11-03
|  |  |  | Efficiency Calibrated: | 2010-11-04
Abs. Corr. | 1 | 1 | 1
NUCLIDES | Pb-210 | Pb-214 | Pb-214 | Bi-214 | Cs-137 | Ra-226
@ KeV | 46.5 | 295 | 351.9 | 609.3 | 661.6 | Mean
INTENSITY (%) | 4.05 | 19.2 | 37.1 | 46.1 | 85.21 | (dpm/g)
EFFICIENCY | 0.66 | 0.33 | 0.31 | 0.09 | 0.13 | 3.3784
+/- EFF ERROR | 0.0469 | 0.1146 | 0.0952 | 0.0321 | 0.011
COUNT | 2879 | 1696 | 3133 | 1129 | 35044
% ERROR | 141 | 97 | 104 | 65 | 204
CPM | 1.1818 | 0.69617 | 1.286 | 0.46343 | 14.3847
BKGD CPM | 0.067076 | 0.058299 | 0.11158 | 0.043254 | 0.0075225
+/- | 0.042001 | 0.030717 | 0.028209 | 0.023194 | 0.030717
NET CPM | 1.1147 | 0.63787 | 1.1744 | 0.42017 | 14.3772
+/- | 1.668 | 0.67622 | 1.3383 | 0.30177 | 29.3457
Activity (dpm/g) | 13.9005 | 3.3558 | 3.4039 | 3.3757 | 43.2632
+/- | 20.8246 | 3.7436 | 4.0171 | 2.7069 | 88.3817
Activity (Bq/Kg) | 231.6754 | 55.9297 | 56.7311 | 56.2615 | 721.0529
+/- | 347.0764 | 62.3932 | 66.9509 | 45.1151 | 1473.029
MDA (dpm/g) | 0.3188 | 0.12578 | 0.09463 | 0.16669 | 0.027988

## activity calc CRS A
CRS Template A: Activity Calculation Spreadsheet | [35 empty] | Activity Calculation
[31 empty] | Energy | Detection | Eff | Gamma
Core Location: | Lake Winnipeg | [29 empty] | (keV) | Efficiency | Error | Intensity
Core ID No.: | [30 empty] | 46.5 | 0.6624 | 0.02358 | 0.0405 |  | Core Location: | Lake Winnipeg
Collection Date: | 2016-07-14 | [29 empty] | 295.1 | 0.326 | 0.0239 | 0.18402 |  | Core ID No.: | 0
Coring Year: | 2015 | [29 empty] | 351.9 | 0.3107 | 0.02094 | 0.354 |  | Collection Date: | 2016-07-14
Detector No.: | 1 | [29 empty] | 609.3 | 0.09 | 0.01571 | 0.4484 |  | Coring Year: | 206
[26 empty] | Sample Net Count Rate |  |  |  |  | 661.7 | 0.1324 | 0.00246 | 0.8521 |  | Detector No.: | 3
[16 empty] | Sample Count Rate | [9 empty] | Geometry Factor Correction for Sample Height in Vial | [25 empty] | Radon Daughter Peaks Used to Obtain Ra-226 Activity | [6 empty] | Five-point running mean for background count rates
[43 empty] | Mean | Mean |  |  | ln | ln | Excess | Excess
Depth | Mid- |  | Sample | Sample | Live | Pb-210 | 46.5 | Pb-214 | 295.1 | Pb-214 | 351.7 | Bi-214 | 609.3 | Cs-137 | 661.7 | Pb-210 | 46.5 | Pb-214 | 295.1 | Pb-214 | 351.7 | Bi-214 | 609.3 | Cs-137 | 661.7 | Pb-210 | 46.5 | Pb-214 | 295.2 | Pb-214 | 351.9 | Bi-214 | 609.3 | Cs-137 | 661.7 |  |  | Mid- | Sample | Sample | Pb-210 | Pb-210 | Ra-226 | Ra-226 | Cs-137 | Cs-137 | Pb-210 | Pb-210 | Pb-210 | Pb-210 | Mid- | Pb-214 | 295.3 keV | Pb-214 | 351.7 keV | Bi-214 | 609.3 keV | Sample | Pb-210 | 46.5 | Pb-214 | 295.1 | Pb-214 | 351.7 | Bi-214 | 609.3 | Cs-137 | 661.7
Interval | Depth | Date | Weight | Height | Time | 46.5 keV | Counts | 295.1 keV | Counts | 351.7 keV | Counts | 609.3 keV | Counts | 661.7 keV | Counts | 46.5 keV | CPM | 295.1 keV | CPM | 351.7 keV | CPM | 609.3 keV | CPM | 661.7 keV | CPM | 46.5 keV | Net cpm | 295.1 keV | Net cpm | 351.7 keV | Net cpm | 609.3 keV | Net cpm | 661.7 keV | Net cpm | Date | Depth | Depth | Weight | Height | Activity | Error | Activity | Error | Activity | Error | Activity | Activity | Activity | Error | Depth | Activity | Error | Activity | Error | Activity | Error | Count | 46.5 keV | CPM | 295.1 keV | CPM | 351.7 keV | CPM | 609.3 keV | CPM | 661.7 keV | CPM
sample | (cm) | Counted | (g) | (mm) | (sec) | Counts | Error | Counts | Error | Counts | Error | Counts | Error | Counts | Error | CPM | Error | CPM | Error | CPM | Error | CPM | Error | CPM | Error | NET CPM | Error | NET CPM | Error | NET CPM | Error | NET CPM | Error | NET CPM | Error | Counted | (cm) | (cm) | (g) | (mm) | (dpm/g) |  | (dpm/g) |  | (dpm/g) |  | (dpm/g) | (dpm/g) | (dpm/g) | (dpm/g) | (cm) | (dpm/g) |  | (dpm/g) |  | (dpm/g) |  | Date | CPM | Error | CPM | Error | CPM | Error | CPM | Error | CPM | Error
1 | 2.25 | 2017-03-06 | 1.9837 | 35 | 334228 | 5254 | 186 | 1680 | 211 | 3025 | 184 | 1337 | 134 | 2555 | 145 | 0.94319 | 0.03339 | 0.30159 | 0.037878 | 0.54304 | 0.033031 | 0.24002 | 0.024055 | 0.45867 | 0.02603 | 0.87619 | 0.039932 | 0.24359 | 0.04265 | 0.43104 | 0.038458 | 0.19702 | 0.029003 | 0.45067 | 0.028855 | 2017-03-06 | 1 | 2.25 | 1.9837 | 35 | 16.7969 | 0.75035 | 2.0113 | 0.36229 | 2.0137 | 0.12894 | 2.6937 | 2.6937 | 14.7857 | 0.83323 | 1 | 2.0469 | 0.35839 | 1.9756 | 0.17627 | 2.461 | 0.36229 | 2017-03-06 | 0.067 | 0.0219 | 0.058 | 0.019602 | 0.112 | 0.019697 | 0.043 | 0.016202 | 0.008 | 0.012453
4 | 5.25 | 2017-03-07 | 2.1638 | 35 | 87338 | 1113 | 94 | 538 | 106 | 980 | 92 | 442 | 66 | 829 | 78 | 0.76462 | 0.064577 | 0.3696 | 0.072821 | 0.67325 | 0.063203 | 0.30365 | 0.045341 | 0.56951 | 0.053585 | 0.69762 | 0.068189 | 0.3116 | 0.075413 | 0.56125 | 0.066201 | 0.26065 | 0.048149 | 0.56151 | 0.055013 | 2017-03-07 | 4 | 5.25 | 2.1638 | 35 | 12.2615 | 1.1747 | 2.3794 | 0.55139 | 2.3002 | 0.22536 | 2.2907 | 2.2907 | 9.8821 | 1.2977 | 2 | 2.4005 | 0.58096 | 2.3583 | 0.27816 | 2.9849 | 0.55139 | 2017-03-07 | 0.067 | 0.0219 | 0.058 | 0.019602 | 0.112 | 0.019697 | 0.043 | 0.016202 | 0.008 | 0.012453
7 | 8.25 | 2017-03-08 | 2.4548 | 35 | 182255 | 1923 | 135 | 1307 | 158 | 2066 | 140 | 640 | 107 | 2887 | 120 | 0.63307 | 0.044443 | 0.43028 | 0.052015 | 0.68015 | 0.046089 | 0.21069 | 0.035225 | 0.95043 | 0.039505 | 0.56607 | 0.049546 | 0.37228 | 0.055586 | 0.56815 | 0.050122 | 0.16769 | 0.038773 | 0.94243 | 0.041421 | 2017-03-08 | 7 | 8.25 | 2.4548 | 35 | 8.7707 | 0.75235 | 2.3161 | 0.39138 | 3.4029 | 0.14956 | 1.8648 | 1.8648 | 6.4546 | 0.84806 | 3 | 2.5279 | 0.37746 | 2.1043 | 0.18564 | 1.6927 | 0.39138 | 2017-03-08 | 0.067 | 0.0219 | 0.058 | 0.019602 | 0.112 | 0.019697 | 0.043 | 0.016202 | 0.008 | 0.012453
10 | 11.25 | 2017-03-09 | 2.4434 | 35 | 81617 | 951 | 87 | 715 | 104 | 1039 | 90 | 380 | 71 | 1491 | 79 | 0.69912 | 0.063957 | 0.52563 | 0.076455 | 0.76381 | 0.066163 | 0.27935 | 0.052195 | 1.0961 | 0.058076 | 0.63212 | 0.067603 | 0.46763 | 0.078928 | 0.65181 | 0.069032 | 0.23635 | 0.054652 | 1.0881 | 0.059396 | 2017-03-09 | 10 | 11.25 | 2.4434 | 35 | 9.8406 | 1.0313 | 2.8078 | 0.55424 | 3.9472 | 0.21547 | 1.9506 | 1.9506 | 7.0328 | 1.1708 | 4 | 3.1902 | 0.53846 | 2.4254 | 0.25687 | 2.397 | 0.55424 | 2017-03-09 | 0.067 | 0.0219 | 0.058 | 0.019602 | 0.112 | 0.019697 | 0.043 | 0.016202 | 0.008 | 0.012453
13 | 14.25 | 2017-03-10 | 2.4786 | 35 | 261676 | 2312 | 156 | 2174 | 190 | 2845 | 173 | 1127 | 126 | 5450 | 149 | 0.53012 | 0.035769 | 0.49848 | 0.043565 | 0.65233 | 0.039667 | 0.25841 | 0.028891 | 1.2496 | 0.034164 | 0.46312 | 0.041941 | 0.44048 | 0.047772 | 0.54033 | 0.044289 | 0.21541 | 0.033123 | 1.2416 | 0.036363 | 2017-03-10 | 13 | 14.25 | 2.4786 | 35 | 7.1079 | 0.63075 | 2.4722 | 0.33115 | 4.4403 | 0.13004 | 1.5338 | 1.5338 | 4.6358 | 0.71239 | 5 | 2.9623 | 0.32128 | 1.982 | 0.16246 | 2.1535 | 0.33115 | 2017-03-10 | 0.067 | 0.0219 | 0.058 | 0.019602 | 0.112 | 0.019697 | 0.043 | 0.016202 | 0.008 | 0.012453
16 | 17.25 | 2017-03-11 | 2.2774 | 35 | 167154 | 1050 | 117 | 1054 | 152 | 1865 | 135 | 636 | 100 | 3536 | 114 | 0.3769 | 0.041997 | 0.37833 | 0.05456 | 0.66944 | 0.048458 | 0.22829 | 0.035895 | 1.2692 | 0.04092 | 0.3099 | 0.047364 | 0.32033 | 0.057975 | 0.55744 | 0.052309 | 0.18529 | 0.039382 | 1.2612 | 0.042773 | 2017-03-11 | 16 | 17.25 | 2.2774 | 35 | 5.1769 | 0.77524 | 2.2851 | 0.4285 | 4.9089 | 0.16648 | 1.0619 | 1.0619 | 2.8919 | 0.88578 | 6 | 2.3447 | 0.42434 | 2.2254 | 0.20883 | 2.0161 | 0.4285 | 2017-03-11 | 0.067 | 0.0219 | 0.058 | 0.019602 | 0.112 | 0.019697 | 0.043 | 0.016202 | 0.008 | 0.012453
19 | 20.25 | 2017-03-12 | 2.5862 | 35 | 165514 | 934 | 116 | 952 | 153 | 1971 | 136 | 872 | 96 | 1320 | 108 | 0.33858 | 0.042051 | 0.34511 | 0.055464 | 0.7145 | 0.049301 | 0.31611 | 0.034801 | 0.47851 | 0.039151 | 0.27158 | 0.047412 | 0.28711 | 0.058826 | 0.6025 | 0.05309 | 0.27311 | 0.038387 | 0.47051 | 0.041083 | 2017-03-12 | 19 | 20.25 | 2.5862 | 35 | 3.9955 | 0.68336 | 1.9843 | 0.3678 | 1.6126 | 0.14081 | 0.6987 | 0.6987 | 2.0111 | 0.77605 | 7 | 1.8505 | 0.37916 | 2.1181 | 0.18664 | 2.6167 | 0.3678 | 2017-03-12 | 0.067 | 0.0219 | 0.058 | 0.019602 | 0.112 | 0.019697 | 0.043 | 0.016202 | 0.008 | 0.012453
22 | 23.25 | 2017-03-13 | 2.7102 | 35 | 350995 | 1452 | 173 | 2206 | 218 | 4130 | 195 | 1695 | 142 | 1409 | 149 | 0.24821 | 0.029573 | 0.3771 | 0.037265 | 0.70599 | 0.033334 | 0.28975 | 0.024274 | 0.24086 | 0.02547 | 0.18121 | 0.036799 | 0.3191 | 0.042107 | 0.59399 | 0.038718 | 0.24675 | 0.029184 | 0.23286 | 0.028352 | 2017-03-13 | 22 | 23.25 | 2.7102 | 35 | 2.5442 | 0.50613 | 1.9777 | 0.26683 | 0.76157 | 0.092725 | -0.56828 | -0.56828 | 0.5665 | 0.57216 | 8 | 1.9626 | 0.25898 | 1.9927 | 0.12989 | 2.256 | 0.26683 | 2017-03-13 | 0.067 | 0.0219 | 0.058 | 0.019602 | 0.112 | 0.019697 | 0.043 | 0.016202 | 0.008 | 0.012453
25 | 26.25 | 2017-03-14 | 2.6898 | 35 | 97262 | 441 | 90 | 757 | 113 | 1228 | 102 | 368 | 80 | 237 | 75 | 0.27205 | 0.05552 | 0.46699 | 0.069709 | 0.75754 | 0.062923 | 0.22702 | 0.049351 | 0.1462 | 0.046267 | 0.20505 | 0.059683 | 0.40899 | 0.072412 | 0.64554 | 0.065934 | 0.18402 | 0.051943 | 0.1382 | 0.047913 | 2017-03-14 | 25 | 26.25 | 2.6898 | 35 | 2.901 | 0.8271 | 2.3583 | 0.47852 | 0.45543 | 0.15789 | -0.61129 | -0.61129 | 0.54265 | 0.95555 | 9 | 2.5346 | 0.44876 | 2.182 | 0.22287 | 1.6952 | 0.47852 | 2017-03-14 | 0.067 | 0.0219 | 0.058 | 0.019602 | 0.112 | 0.019697 | 0.043 | 0.016202 | 0.008 | 0.012453
28 | 29.25 | 2017-03-15 | 2.6434 | 35 | 156501 | 596 | 116 | 999 | 147 | 1763 | 133 | 714 | 95 | 123 | 98 | 0.2285 | 0.044473 | 0.383 | 0.056357 | 0.67591 | 0.05099 | 0.27374 | 0.036421 | 0.047156 | 0.037572 | 0.1615 | 0.049572 | 0.325 | 0.059669 | 0.56391 | 0.054662 | 0.23074 | 0.039862 | 0.039156 | 0.039582 | 2017-03-15 | 28 | 29.25 | 2.6434 | 35 | 2.3251 | 0.69904 | 1.9945 | 0.37367 | 0.1313 | 0.13272 | -1.1068 | -1.1068 | 0.3306 | 0.79265 | 10 | 2.0495 | 0.37627 | 1.9395 | 0.18801 | 2.1629 | 0.37367 | 2017-03-15 | 0.067 | 0.0219 | 0.058 | 0.019602 | 0.112 | 0.019697 | 0.043 | 0.016202 | 0.008 | 0.012453
31 | 32.25 | 2017-03-16 | 2.725 | 35 | 257781 | 927 | 147 | 1891 | 188 | 2954 | 170 | 1352 | 120 | 145 | 125 | 0.21576 | 0.034215 | 0.44014 | 0.043758 | 0.68756 | 0.039568 | 0.31469 | 0.027931 | 0.03375 | 0.029094 | 0.14876 | 0.040624 | 0.38214 | 0.047948 | 0.57556 | 0.0442 | 0.27169 | 0.03229 | 0.02575 | 0.031647 | 2017-03-16 | 31 | 32.25 | 2.725 | 35 | 2.0778 | 0.5557 | 2.129 | 0.29362 | 0.083758 | 0.10294 | #NUM! | #NUM! | -0.051153 | 0.6285 | 11 | 2.3376 | 0.29331 | 1.9203 | 0.14747 | 2.4705 | 0.29362 | 2017-03-16 | 0.067 | 0.0219 | 0.058 | 0.019602 | 0.112 | 0.019697 | 0.043 | 0.016202 | 0.008 | 0.012453
34 | 35.25 | 2017-03-17 | 2.6942 | 35 | 101495 | 405 | 90 | 774 | 121 | 1315 | 103 | 602 | 73 | 0 | 79 | 0.23942 | 0.053205 | 0.45756 | 0.071531 | 0.77738 | 0.06089 | 0.35588 | 0.043155 | 0 | 0.046702 | 0.17242 | 0.057536 | 0.39956 | 0.074168 | 0.66538 | 0.063996 | 0.31288 | 0.046096 | -0.008 | 0.048334 | 2017-03-17 | 34 | 35.25 | 2.6942 | 35 | 2.436 | 0.79603 | 2.3588 | 0.42396 | -0.02632 | 0.15902 | -2.5611 | -2.5611 | 0.077222 | 0.90189 | 12 | 2.4721 | 0.45888 | 2.2454 | 0.21596 | 2.8777 | 0.42396 | 2017-03-17 | 0.067 | 0.0219 | 0.058 | 0.019602 | 0.112 | 0.019697 | 0.043 | 0.016202 | 0.008 | 0.012453
|  |  |  | vial | vial+sed | sediment
|  |  | 1 | 3.5862 | 5.5699 | 1.9837
|  |  | 2 | 3.6934 | 5.8572 | 2.1638
|  |  | 3 | 3.6569 | 6.1117 | 2.4548
|  |  | 4 | 3.579 | 6.0224 | 2.4434
|  |  | 5 | 3.6342 | 6.1128 | 2.4786
|  |  | 6 | 3.656 | 5.9334 | 2.2774
|  |  | 7 | 3.7278 | 6.314 | 2.5862
|  |  | 8 | 3.6271 | 6.3373 | 2.7102
|  |  | 9 | 3.625 | 6.3148 | 2.6898
|  |  | 10 | 3.6343 | 6.2777 | 2.6434
|  |  | 11 | 3.5785 | 6.3035 | 2.725
|  |  | 12 | 3.5896 | 6.2838 | 2.6942
Formulas:
Date = [Date]
Count = [Date]

## age calculation CRS B
CRS Template B: Age/Depth & Mass Sedimentation Rate Calculation
Use Paste Special (value only) to copy data from CRS Temp-A Activity Calculation "Date Counted"
(AK) through "Excess Pb-210 Activity 1s Error" (BB) into this spreadsheet.
Core Location: | Kenosee Lake |  |  | Cumulative Weight is the only input data. | [11 empty] | A(o)= | 10.7311
Core ID: |  |  |  | The 18 columns from CRS Temp-A (including blank columns) | [11 empty] | ±1s error = | 0
Coring Date: | 2016-07-18 |  |  | must be copied. | [11 empty] | variance = | 0
Sampling Year: | 2016 | [5 empty] | Supported | [11 empty] | Excess | [6 empty] | Binford's
Detector No.: | 1 | [5 empty] | Pb-210 | [6 empty] | Excess |  | Cumulative |  | Excess | Pb-210 | [6 empty] | MASS |  |  | Excess
[7 empty] | or | [5 empty] | Excess | Pb-210 |  | Mass | Excess | Pb-210 | Inventory |  | AGE | Uncorrelated | Correlated |  | MASS | Sedimentation | Mass Sed. | Excess | Pb-210
| Depth | Mid-depth | Sample | Sample | Pb-210 | Pb-210 | Ra-226 | Ra-226 | Cs-137 | Cs-137 | LN Pb-210 |  | Pb-210 | Activity |  | at each | Pb-210 | Inventory | below given | Depth | at given | AGE | AGE | DATE | Sedimentation | Rate | Rate | Pb-210 | Cumulative | CO2 | ∆ 13C
Date | Interval | cm | Weight | Height | Activity | 1s Error | Activity | 1s Error | Activity | 1s Error |  |  | Activity | 1s Error |  | Depth | Inventory | 1s Error | depth | Interval | Depth | 1s Error | 1s Error | at given | Rate | 1s Error | Error | Error^2 | Error^2 | (Keeling et | relative to
Counted | (cm) |  | (g) | (mm) | (dpm/g) |  | (dpm/g) |  | (dpm/g) |  |  |  | (dpm/g) |  | (g/cm2) | (g/cm2) | (dpm/cm2) |  | (dpm/cm2) | (cm) | (yr) |  |  | Depth | (mg/cm2/yr) | (mg/cm2/yr) | (%) | (dpm^2/cm^4) | (dpm^2/cm^4) | al 1989) | 1840
[16 empty] | 0 |  |  | 10.7311 | [9 empty] | 0.52996
2017-03-06 | 1 | 2.25 | 1.9837 | 35 | 16.7969 | 0.75035 | 2.0113 | 0.36229 | 2.0137 | 0.12894 | 2.6937 | 2.6937 | 14.7857 | 0.83323 | 0.19197 | 0.19197 | 2.8384 | 0.15996 | 7.8927 | 2.25 | 9.8635 | 1.1054 | 0.5686 | 2006.1365 | #DIV/0! | #DIV/0! |  | 0.025586 | 0.52996 | #DIV/0! | #DIV/0! | #DIV/0! | 0.32331 | #DIV/0! | #DIV/0! | #DIV/0!
2017-03-07 | 4 | 5.25 | 2.1638 | 35 | 12.2615 | 1.1747 | 2.3794 | 0.55139 | 2.3002 | 0.22536 | 2.2907 | 2.2907 | 9.8821 | 1.2977 | 0.2094 | 0.40137 | 2.0693 | 0.27173 | 5.8234 | 5.25 | 19.6258 | 1.1108 | 0.75132 | 1996.3742 | #DIV/0! | #DIV/0! |  | 0.073837 | 0.50437 | #DIV/0! | #DIV/0! | #DIV/0! | 0.56448 | #DIV/0! | #DIV/0! | #DIV/0!
2017-03-08 | 7 | 8.25 | 2.4548 | 35 | 8.7707 | 0.75235 | 2.3161 | 0.39138 | 3.4029 | 0.14956 | 1.8648 | 1.8648 | 6.4546 | 0.84806 | 0.23756 | 0.63893 | 1.5334 | 0.20147 | 4.29 | 8.25 | 29.4373 | 2.072 | 1.6055 | 1986.5627 | #DIV/0! | #DIV/0! |  | 0.040589 | 0.43054 | #DIV/0! | #DIV/0! | #DIV/0! | 2.5778 | #DIV/0! | #DIV/0! | #DIV/0!
2017-03-09 | 10 | 11.25 | 2.4434 | 35 | 9.8406 | 1.0313 | 2.8078 | 0.55424 | 3.9472 | 0.21547 | 1.9506 | 1.9506 | 7.0328 | 1.1708 | 0.23646 | 0.87539 | 1.663 | 0.27685 | 2.6271 | 11.25 | 45.1834 | 2.0884 | 1.8152 | 1970.8166 | #DIV/0! | #DIV/0! |  | 0.076646 | 0.38995 | #DIV/0! | #DIV/0! | #DIV/0! | 3.295 | #DIV/0! | #DIV/0! | #DIV/0!
2017-03-10 | 13 | 14.25 | 2.4786 | 35 | 7.1079 | 0.63075 | 2.4722 | 0.33115 | 4.4403 | 0.13004 | 1.5338 | 1.5338 | 4.6358 | 0.71239 | 0.23986 | 1.1153 | 1.112 | 0.17088 | 1.5151 | 14.25 | 62.8544 | 4.137 | 3.8346 | 1953.1456 | #DIV/0! | #DIV/0! |  | 0.029199 | 0.3133 | #DIV/0! | #DIV/0! | #DIV/0! | 14.7038 | #DIV/0! | #DIV/0! | #DIV/0!
2017-03-11 | 16 | 17.25 | 2.2774 | 35 | 5.1769 | 0.77524 | 2.2851 | 0.4285 | 4.9089 | 0.16648 | 1.0619 | 1.0619 | 2.8919 | 0.88578 | 0.22039 | 1.3356 | 0.63735 | 0.19522 | 0.87775 | 17.25 | 80.3807 | 7.1046 | 6.8092 | 1935.6193 | #DIV/0! | #DIV/0! |  | 0.038111 | 0.2841 | #DIV/0! | #DIV/0! | #DIV/0! | 46.3649 | #DIV/0! | #DIV/0! | #DIV/0!
2017-03-12 | 19 | 20.25 | 2.5862 | 35 | 3.9955 | 0.68336 | 1.9843 | 0.3678 | 1.6126 | 0.14081 | 0.6987 | 0.6987 | 2.0111 | 0.77605 | 0.25028 | 1.5859 | 0.50334 | 0.19423 | 0.37441 | 20.25 | 107.7363 | 12.8686 | 12.6446 | 1908.2637 | #DIV/0! | #DIV/0! |  | 0.037725 | 0.24599 | #DIV/0! | #DIV/0! | #DIV/0! | 159.8848 | #DIV/0! | #DIV/0! | #DIV/0!
2017-03-13 | 22 | 23.25 | 2.7102 | 35 | 2.5442 | 0.50613 | 1.9777 | 0.26683 | 0.76157 | 0.092725 | -0.56828 | -0.56828 | 0.5665 | 0.57216 | 0.26228 | 1.8482 | 0.14858 | 0.15006 | 0.22583 | 23.25 | 123.9688 | 35.3634 | 34.9962 | 1892.0312 | #DIV/0! | #DIV/0! |  | 0.022519 | 0.20827 | #DIV/0! | #DIV/0! | #DIV/0! | 1224.7319 | #DIV/0! | #DIV/0! | #DIV/0!
2017-03-14 | 25 | 26.25 | 2.6898 | 35 | 2.901 | 0.8271 | 2.3583 | 0.47852 | 0.45543 | 0.15789 | -0.61129 | -0.61129 | 0.54265 | 0.95555 | 0.2603 | 2.1085 | 0.14125 | 0.24873 | 0.084572 | 26.25 | 155.5027 | 76.9787 | 76.6897 | 1860.4973 | #DIV/0! | #DIV/0! |  | 0.061868 | 0.18575 | #DIV/0! | #DIV/0! | #DIV/0! | 5881.3164 | #DIV/0! | #DIV/0! | #DIV/0!
2017-03-15 | 28 | 29.25 | 2.6434 | 35 | 2.3251 | 0.69904 | 1.9945 | 0.37367 | 0.1313 | 0.13272 | -1.1068 | -1.1068 | 0.3306 | 0.79265 | 0.25581 | 2.3643 | 0.084572 | 0.20277 | 0 | 29.25 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | 0.041115 | 0.12388 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
2017-03-16 | 31 | 32.25 | 2.725 | 35 | 2.0778 | 0.5557 | 2.129 | 0.29362 | 0.083758 | 0.10294 | #NUM! | #NUM! | 0 | 0.6285 | 0.26371 | 2.628 | 0 | 0.16574 | 0 | 32.25 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | 0.02747 | 0.082765 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
2017-03-17 | 34 | 35.25 | 2.6942 | 35 | 2.436 | 0.79603 | 2.3588 | 0.42396 | -0.02632 | 0.15902 | -2.5611 | -2.5611 | 0 | 0.90189 | 0.26073 | 2.8888 | 0 | 0.23515 | 0 | 35.25 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | 0.055295 | 0.055295 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | sedimentation |  | 1964 depth (cm)
[7 empty] | cm / year |  | 11.8827
0.2242

## CSM CRS calc
SAMPLE ID | Excess Pb-210 | Mid Depth | Mid Depth | g/Core area | Weight | Core Area | pCi/cm^2 | Sed Rate | Years Acc. | Date | Pb-210 Flux
| pCi/g | (cm) | (cm) | g/cm^2 | Counted | Counted |  | g/sq cm/yr |  |  | pCi/sq cm/yr
(Normal 0.2-0.9)
Core R15 0.5 cm | 2.7306 | -0.47531 | 0.75 | 0.0858 | 0.8866 | 10.3333 | 0.23429 | 0.5272 |  | 1999 | 1.4396 | 2001.5904
Core R15 1.5 cm | 13.3691 | -1.474 | 1.75 | 0.099455 | 1.0277 | 10.3333 | 1.3296 | 0.10713 | 0.16316 | 1998.8368 |  | 2000.6694
Core R15 2.5 cm | 9.2909 | -2.5659 | 2.75 | 0.094877 | 0.9804 | 10.3333 | 0.8815 | 0.14971 | 1.1051 | 1997.8949 |  | 2000.044
Core R15 3.5 cm | 18.2885 | -3.6429 | 5.25 | 0.11222 | 1.1596 | 10.3333 | 2.0523 | 0.074556 | 1.7452 | 1997.2548 |  | 1998.5387
Core R15 4.5 cm | 24.105 | -4.7149 | 6.4335 | 0.13958 | 1.4423 | 10.3333 | 3.3645 | 0.053918 | 3.2868 | 1995.7132 |  | 1995.9073
Core R15 5.5 cm | 26.2189 | -5.8102 | 7.8785 | 0.14496 | 1.4979 | 10.3333 | 3.8006 | 0.04558 | 5.9856 | 1993.0144 |  | 1992.6498
Core R15 6.5 cm | 17.2951 | -6.8105 | 9.3215 | 0.12867 | 1.3296 | 10.3333 | 2.2254 | 0.062264 | 9.3344 | 1989.6656 |  | 1990.5768
Core R15 7.5 cm | 20.0514 | -7.8075 | 11.0575 | 0.12985 | 1.3418 | 10.3333 | 2.6037 | 0.050253 | 11.4703 | 1987.5297 |  | 1987.9682
Core R15 8.5 cm | 25.7792 | -8.8995 | 12.5025 | 0.1508 | 1.5583 | 10.3333 | 3.8876 | 0.035947 | 14.164 | 1984.836 |  | 1983.6305
Core R15 9.5 cm | 18.3222 | -9.9864 | 13.6585 | 0.11105 | 1.1475 | 10.3333 | 2.0347 | 0.043978 | 18.6593 | 1980.3407 |  | 1981.1029
Core R15 10.5 cm | 17.9159 | -11.0767 | 15.3925 | 0.11698 | 1.2088 | 10.3333 | 2.0958 | 0.041443 | 21.2891 | 1977.7109 |  | 1978.2729
Core R15 11.5 cm | 19.3879 | -12.1821 | 16.8375 | 0.12804 | 1.3231 | 10.3333 | 2.4825 | 0.034935 | 24.2434 | 1974.7566 |  | 1974.5622
Core R15 12.5 cm | 40.9636 | -13.2957 | 24.0625 | 0.22521 | 2.3272 | 10.3333 | 9.2255 | 0.01465 | 28.1349 | 1970.8651 |  | 1955.0563
Core R15 13.5 cm | 20.5793 | -14.4327 | 31.2875 | 0.15133 | 1.5637 | 10.3333 | 3.1142 | 0.015219 | 49.0445 | 1949.9555 |  | 1944.4124
Core R15 14.5 cm | 19.0885 | -15.578 | 38.2235 | 0.16702 | 1.7259 | 10.3333 | 3.1882 | 0.011334 | 60.9403 | 1938.0597 |  | 1927.8814
Core R15 15.5 cm | 14.1837 | -16.6933 | 45.4485 | 0.14157 | 1.4629 | 10.3333 | 2.008 | 0.0082622 | 80.6533 | 1918.3467 |  | 1910.1621
Core R15 16.5 cm | 12.3938 | -17.7853 | 52.6735 | 0.14202 | 1.4675 | 10.3333 | 1.7601 | 0.0044167 | 105.1291 | 1893.8709 |  | 1876.8566
| 8.3507 |  | 59.8985 | 0.1157 | 1.1956 | 10.3333 | 0.9662 | 0.010153 | 91.0593
[6 empty] | Total | 46.2885