## eff calc
Efficiency Calculation for Well Germanium Detectors
Standard Name: | IAEA-300 Baltic Sea Marine Sediment |  |  |  |  | Date Counted: | 2010-11-02
Net Weight: | 3 | g |  |  |  | Date Calculated: | 2010-11-03 | background
Live Time: | 146172 | sec |  |  |  | Analyst: | Bjoern Wissel
Height in Vial: | 35 | mm |  |  |  | Background Updated: | 2007-08-02 | 95713
Spectrum File: | 2811wg.cnf |  |  |  |  | Certification Date: | 1993-01-01
[8 empty] | 107 | 93 | 178 | 69 | 12
Nuclide | Pb-210 | Pb-214 | Pb-214 | Bi-214 | Cs-137 |  |  | 67 | 49 | 45 | 37 | 49
Energy (keV) | 46.539 | 295.207 | 351.925 | 609.318 | 661.66 |  |  | 0.067076 | 0.058299 | 0.11158 | 0.043254 | 0.0075225
Intensity (%) | 4.05 | 19.24 | 37.17 | 46.1 | 85.21 |  |  | 0.042001 | 0.030717 | 0.028209 | 0.023194 | 0.030717
Net Peak Area | 2879 | 1696 | 3133 | 1129 | 35044
± uncertainity | 141 | 97 | 104 | 65 | 204
CPM | 1.1818 | 0.69617 | 1.286 | 0.46343 | 14.3847
± error | 0.057877 | 0.039816 | 0.042689 | 0.026681 | 0.083737
Background CPM | 0.067076 | 0.058299 | 0.11158 | 0.043254 | 0.0075225
± error | 0.042001 | 0.030717 | 0.028209 | 0.023194 | 0.030717
Net CPM | 1.1147 | 0.63787 | 1.1744 | 0.42017 | 14.3772
± error | 0.071511 | 0.050288 | 0.051168 | 0.035353 | 0.089193
Activity (dpm/g) | 13.85 | 3.3899 | 3.3899 | 3.3899 | 42.49
± uncertainity | 0.90254 | 1.0384 | 1.0384 | 1.0384 | 0.38224
% Efficiency | 66.2408 | 32.5999 | 31.0691 | 8.9623 | 13.2366
± % eff error | 6.0574 | 10.3112 | 9.6126 | 2.8469 | 0.14465

## decay corr
Summary of Standard Reference Material Activities
Three activities are reported: |  | #1 = initial certified activity as reported by agency;
#2 = the decay corrected activity to date of counting (counting date must be changed to reflect your date of interest); and
#3 = the decay corrected activity converted from Bq/kg to dpm/g.
Counting Date: | 2010-11-02
|  | Time | Pb-210 | Am-241 | U-238 | Th-228 | Th-232 | Ra-226 | Ra-228 | Cs-134 | Cs-137 | Co-60 | K-40
|  | Since | 46 | 59 | 63/92 | 238.1 | 238.1 | 6 peaks | 338/911 | 604 | 661 | 1174/1332 | 1460
Standard | Ref. Date | Cert. | 22.3 | 432.7 | 4500000000 | 1.913 | 14000000000 | 1620 | 5.76 | 754.28 | 30.17 | 5.271 | 1300000000
(±1s) | (check units) | (days) | years | years | years | years | years | years | years | days | years | years | years
IAEA-300 |  |  | 360 | 1.38 | 64.7 | 64 | 72.4 | 56.5 | 61.6 | 66.6 | 1066.6 | 1.5 | 1059 | initial certified activity
marine sediment | Bq/kg |  | 14 | 0.075 | 1.925 | 10.6 | 4.55 | 17.35 | 1.225 | 0.75 | 8.5 | 0.125 | 9.25
IAEA-300 | 1993-01-01 | 6514 | 230.8457 | 1.3411 | 64.7 | 64 | 72.4 | 56.5 | 61.6 | 0.16764 | 708.1 | 0.14358 | 1059 | decay corrected activity
| Bq/kg |  | 12.7479 | 0.072887 | 1.93 | 10.6 | 1.93 | 17.2182 | 1.23 | 0.0018879 | 5.643 | 0.011965 | 9.25
IAEA-300 |  |  | 13.8505 | 0.080465 | 3.8819 | 3.8399 | 4.3439 | 3.3899 | 3.6959 | 0.010058 | 42.4852 | 0.0086143 | 63.5387 | decay corrected activity
| dpm/g |  | 0.76486 | 0.0043731 | 0.1158 | 0.63599 | 0.1158 | 1.0331 | 0.073799 | 0.00011327 | 0.33857 | 0.00071786 | 0.55499

## activity calc 1
GAMMA ANALYSIS OF SAMPLE IN A PETRIDISH
Sample Name: | IAEA 300 Baltic Sea sediment |  |  | Count Began: | 2010-11-02
Weight: | 3 | grams |  | Calculated On: | 2010-11-03 | Absorption Correction
Live Time: | 146172 | seconds |  | Reduced By: | Bjoern | Disabled !!!!! Set to 1
Geometry: |  |  |  | Background Updated: | 2010-11-03
|  |  |  | Efficiency Calibrated: | 2010-11-04
Abs. Corr. | 1 | 1 | 1
NUCLIDES | Pb-210 | Pb-214 | Pb-214 | Bi-214 | Cs-137 | Ra-226
@ KeV | 46.5 | 295 | 351.9 | 609.3 | 661.6 | Mean
INTENSITY (%) | 4.05 | 19.2 | 37.1 | 46.1 | 85.21 | (dpm/g)
EFFICIENCY | 0.66 | 0.33 | 0.31 | 0.09 | 0.13 | 3.3784
+/- EFF ERROR | 0.0469 | 0.1146 | 0.0952 | 0.0321 | 0.011
COUNT | 2879 | 1696 | 3133 | 1129 | 35044
% ERROR | 141 | 97 | 104 | 65 | 204
CPM | 1.1818 | 0.69617 | 1.286 | 0.46343 | 14.3847
BKGD CPM | 0.067076 | 0.058299 | 0.11158 | 0.043254 | 0.0075225
+/- | 0.042001 | 0.030717 | 0.028209 | 0.023194 | 0.030717
NET CPM | 1.1147 | 0.63787 | 1.1744 | 0.42017 | 14.3772
+/- | 1.668 | 0.67622 | 1.3383 | 0.30177 | 29.3457
Activity (dpm/g) | 13.9005 | 3.3558 | 3.4039 | 3.3757 | 43.2632
+/- | 20.8246 | 3.7436 | 4.0171 | 2.7069 | 88.3817
Activity (Bq/Kg) | 231.6754 | 55.9297 | 56.7311 | 56.2615 | 721.0529
+/- | 347.0764 | 62.3932 | 66.9509 | 45.1151 | 1473.029
MDA (dpm/g) | 0.3188 | 0.12578 | 0.09463 | 0.16669 | 0.027988

## activity calc CRS A
CRS Template A: Activity Calculation Spreadsheet | [35 empty] | Activity Calculation
[31 empty] | Energy | Detection | Eff | Gamma
Core Location: | Lake Winnipeg | [29 empty] | (keV) | Efficiency | Error | Intensity
Core ID No.: | [30 empty] | 46.5 | 0.6624 | 0.02358 | 0.0405 |  | Core Location: | Lake Winnipeg
Collection Date: | 2016-07-14 | [29 empty] | 295.1 | 0.326 | 0.0239 | 0.18402 |  | Core ID No.: | 0
Coring Year: | 2015 | [29 empty] | 351.9 | 0.3107 | 0.02094 | 0.354 |  | Collection Date: | 2016-07-14
Detector No.: | 1 | [29 empty] | 609.3 | 0.09 | 0.01571 | 0.4484 |  | Coring Year: | 2015
[26 empty] | Sample Net Count Rate |  |  |  |  | 661.7 | 0.1324 | 0.00246 | 0.8521 |  | Detector No.: | 3
[16 empty] | Sample Count Rate | [9 empty] | Geometry Factor Correction for Sample Height in Vial | [25 empty] | Radon Daughter Peaks Used to Obtain Ra-226 Activity | [6 empty] | Five-point running mean for background count rates
[43 empty] | Mean | Mean |  |  | ln | ln | Excess | Excess
Depth | Mid- |  | Sample | Sample | Live | Pb-210 | 46.5 | Pb-214 | 295.1 | Pb-214 | 351.7 | Bi-214 | 609.3 | Cs-137 | 661.7 | Pb-210 | 46.5 | Pb-214 | 295.1 | Pb-214 | 351.7 | Bi-214 | 609.3 | Cs-137 | 661.7 | Pb-210 | 46.5 | Pb-214 | 295.2 | Pb-214 | 351.9 | Bi-214 | 609.3 | Cs-137 | 661.7 |  |  | Mid- | Sample | Sample | Pb-210 | Pb-210 | Ra-226 | Ra-226 | Cs-137 | Cs-137 | Pb-210 | Pb-210 | Pb-210 | Pb-210 | Mid- | Pb-214 | 295.3 keV | Pb-214 | 351.7 keV | Bi-214 | 609.3 keV | Sample | Pb-210 | 46.5 | Pb-214 | 295.1 | Pb-214 | 351.7 | Bi-214 | 609.3 | Cs-137 | 661.7
Interval | Depth | Date | Weight | Height | Time | 46.5 keV | Counts | 295.1 keV | Counts | 351.7 keV | Counts | 609.3 keV | Counts | 661.7 keV | Counts | 46.5 keV | CPM | 295.1 keV | CPM | 351.7 keV | CPM | 609.3 keV | CPM | 661.7 keV | CPM | 46.5 keV | Net cpm | 295.1 keV | Net cpm | 351.7 keV | Net cpm | 609.3 keV | Net cpm | 661.7 keV | Net cpm | Date | Depth | Depth | Weight | Height | Activity | Error | Activity | Error | Activity | Error | Activity | Activity | Activity | Error | Depth | Activity | Error | Activity | Error | Activity | Error | Count | 46.5 keV | CPM | 295.1 keV | CPM | 351.7 keV | CPM | 609.3 keV | CPM | 661.7 keV | CPM
sample | (cm) | Counted | (g) | (mm) | (sec) | Counts | Error | Counts | Error | Counts | Error | Counts | Error | Counts | Error | CPM | Error | CPM | Error | CPM | Error | CPM | Error | CPM | Error | NET CPM | Error | NET CPM | Error | NET CPM | Error | NET CPM | Error | NET CPM | Error | Counted | (cm) | (cm) | (g) | (mm) | (dpm/g) |  | (dpm/g) |  | (dpm/g) |  | (dpm/g) | (dpm/g) | (dpm/g) | (dpm/g) | (cm) | (dpm/g) |  | (dpm/g) |  | (dpm/g) |  | Date | CPM | Error | CPM | Error | CPM | Error | CPM | Error | CPM | Error
1 | 2.25 | 2017-02-06 | 1.8867 | 35 | 85559 | 1353 | 95 | 665 | 104 | 898 | 95 | 353 | 71 | 597 | 72 | 0.94882 | 0.066621 | 0.46634 | 0.072932 | 0.62974 | 0.066621 | 0.24755 | 0.04979 | 0.41866 | 0.050491 | 0.88182 | 0.070128 | 0.40834 | 0.07552 | 0.51774 | 0.069472 | 0.20455 | 0.05236 | 0.41066 | 0.052004 | 2017-02-06 | 1 | 2.25 | 1.8867 | 35 | 17.7317 | 1.3855 | 3.0514 | 0.68768 | 1.9293 | 0.24432 | 2.6865 | 2.6865 | 14.6803 | 1.5468 | 1 | 3.6078 | 0.66724 | 2.495 | 0.33478 | 2.6865 | 0.68768 | 2017-02-06 | 0.067 | 0.0219 | 0.058 | 0.019602 | 0.112 | 0.019697 | 0.043 | 0.016202 | 0.008 | 0.012453
4 | 5.25 | 2017-02-07 | 1.9004 | 35 | 164047 | 1695 | 125 | 1169 | 149 | 1607 | 139 | 924 | 98 | 1035 | 109 | 0.61994 | 0.045719 | 0.42756 | 0.054497 | 0.58776 | 0.050839 | 0.33795 | 0.035843 | 0.37855 | 0.039867 | 0.55294 | 0.050693 | 0.36956 | 0.057915 | 0.47576 | 0.054521 | 0.29495 | 0.039335 | 0.37055 | 0.041766 | 2017-02-07 | 4 | 5.25 | 1.9004 | 35 | 11.0394 | 0.99433 | 2.7589 | 0.51289 | 1.7283 | 0.19481 | 2.1139 | 2.1139 | 8.2806 | 1.1188 | 2 | 3.2416 | 0.508 | 2.2761 | 0.26084 | 3.8459 | 0.51289 | 2017-02-07 | 0.067 | 0.0219 | 0.058 | 0.019602 | 0.112 | 0.019697 | 0.043 | 0.016202 | 0.008 | 0.012453
7 | 8.25 | 2017-02-08 | 1.8732 | 35 | 96201 | 701 | 96 | 742 | 116 | 1349 | 103 | 786 | 74 | 1009 | 86 | 0.43721 | 0.059875 | 0.46278 | 0.072349 | 0.84136 | 0.06424 | 0.49022 | 0.046153 | 0.62931 | 0.053638 | 0.37021 | 0.063754 | 0.40478 | 0.074957 | 0.72936 | 0.067192 | 0.44722 | 0.048914 | 0.62131 | 0.055064 | 2017-02-08 | 7 | 8.25 | 1.8732 | 35 | 7.4991 | 1.2687 | 3.5711 | 0.64706 | 2.94 | 0.26056 | 1.3681 | 1.3681 | 3.928 | 1.4242 | 3 | 3.6021 | 0.66703 | 3.5401 | 0.32613 | 5.9161 | 0.64706 | 2017-02-08 | 0.067 | 0.0219 | 0.058 | 0.019602 | 0.112 | 0.019697 | 0.043 | 0.016202 | 0.008 | 0.012453
10 | 11.25 | 2017-02-09 | 2.0016 | 35 | 243758 | 1974 | 151 | 1462 | 186 | 2418 | 163 | 1166 | 116 | 3704 | 135 | 0.48589 | 0.037168 | 0.35987 | 0.045783 | 0.59518 | 0.040122 | 0.28701 | 0.028553 | 0.91172 | 0.03323 | 0.41889 | 0.04314 | 0.30187 | 0.049803 | 0.48318 | 0.044696 | 0.24401 | 0.032829 | 0.90372 | 0.035486 | 2017-02-09 | 10 | 11.25 | 2.0016 | 35 | 7.9416 | 0.80339 | 2.3543 | 0.40642 | 4.002 | 0.15715 | 1.7205 | 1.7205 | 5.5873 | 0.90034 | 4 | 2.5139 | 0.41476 | 2.1948 | 0.20302 | 3.0208 | 0.40642 | 2017-02-09 | 0.067 | 0.0219 | 0.058 | 0.019602 | 0.112 | 0.019697 | 0.043 | 0.016202 | 0.008 | 0.012453
13 | 14.25 | 2017-02-10 | 2.2212 | 35 | 103406 | 896 | 95 | 655 | 123 | 896 | 116 | 540 | 73 | 3330 | 97 | 0.51989 | 0.055123 | 0.38006 | 0.071369 | 0.51989 | 0.067308 | 0.31333 | 0.042357 | 1.9322 | 0.056283 | 0.45289 | 0.059314 | 0.32206 | 0.074012 | 0.40789 | 0.07013 | 0.27033 | 0.04535 | 1.9242 | 0.057644 | 2017-02-10 | 13 | 14.25 | 2.2212 | 35 | 7.738 | 0.99539 | 2.0433 | 0.50592 | 7.6786 | 0.23003 | 1.7395 | 1.7395 | 5.6947 | 1.1166 | 5 | 2.4169 | 0.55543 | 1.6696 | 0.28706 | 3.0157 | 0.50592 | 2017-02-10 | 0.067 | 0.0219 | 0.058 | 0.019602 | 0.112 | 0.019697 | 0.043 | 0.016202 | 0.008 | 0.012453
16 | 17.25 | 2017-02-11 | 2.6742 | 35 | 85956 | 690 | 88 | 734 | 113 | 1242 | 100 | 681 | 73 | 1040 | 81 | 0.48164 | 0.061427 | 0.51236 | 0.078878 | 0.86696 | 0.069803 | 0.47536 | 0.050956 | 0.72595 | 0.056541 | 0.41464 | 0.065214 | 0.45436 | 0.081277 | 0.75496 | 0.072529 | 0.43236 | 0.05347 | 0.71795 | 0.057896 | 2017-02-11 | 16 | 17.25 | 2.6742 | 35 | 5.8849 | 0.90902 | 2.6995 | 0.49546 | 2.3797 | 0.1919 | 1.1586 | 1.1586 | 3.1854 | 1.0353 | 6 | 2.8322 | 0.50663 | 2.5667 | 0.24659 | 4.0063 | 0.49546 | 2017-02-11 | 0.067 | 0.0219 | 0.058 | 0.019602 | 0.112 | 0.019697 | 0.043 | 0.016202 | 0.008 | 0.012453
19 | 20.25 | 2017-02-12 | 2.4609 | 35 | 84261 | 393 | 85 | 479 | 114 | 1217 | 96 | 585 | 63 | 285 | 75 | 0.27984 | 0.060526 | 0.34108 | 0.081176 | 0.86659 | 0.068359 | 0.41656 | 0.044861 | 0.20294 | 0.053405 | 0.21284 | 0.064366 | 0.28308 | 0.08351 | 0.75459 | 0.07114 | 0.37356 | 0.047697 | 0.19494 | 0.054838 | 2017-02-12 | 19 | 20.25 | 2.4609 | 35 | 3.2829 | 0.97497 | 2.3527 | 0.48027 | 0.70215 | 0.19752 | -0.072298 | -0.072298 | 0.93025 | 1.0868 | 7 | 1.9175 | 0.56567 | 2.7879 | 0.26283 | 3.7615 | 0.48027 | 2017-02-12 | 0.067 | 0.0219 | 0.058 | 0.019602 | 0.112 | 0.019697 | 0.043 | 0.016202 | 0.008 | 0.012453
22 | 23.25 | 2017-02-13 | 2.4633 | 35 | 85882 | 431 | 86 | 865 | 108 | 985 | 100 | 579 | 67 | 223 | 71 | 0.30111 | 0.060082 | 0.60432 | 0.075452 | 0.68815 | 0.069863 | 0.40451 | 0.046808 | 0.1558 | 0.049603 | 0.23411 | 0.063949 | 0.54632 | 0.077957 | 0.57615 | 0.072587 | 0.36151 | 0.049533 | 0.1478 | 0.051142 | 2017-02-13 | 22 | 23.25 | 2.4633 | 35 | 3.6077 | 0.9677 | 2.9118 | 0.49828 | 0.53182 | 0.18403 | -0.36242 | -0.36242 | 0.69599 | 1.0885 | 8 | 3.697 | 0.52754 | 2.1266 | 0.26791 | 3.6366 | 0.49828 | 2017-02-13 | 0.067 | 0.0219 | 0.058 | 0.019602 | 0.112 | 0.019697 | 0.043 | 0.016202 | 0.008 | 0.012453
25 | 26.25 | 2017-02-14 | 2.4905 | 35 | 341631 | 1501 | 172 | 2687 | 217 | 1098 | 196 | 1902 | 138 | 322 | 147 | 0.26362 | 0.030208 | 0.47191 | 0.038111 | 0.19284 | 0.034423 | 0.33404 | 0.024237 | 0.056552 | 0.025817 | 0.19662 | 0.037311 | 0.41391 | 0.042857 | 0.08084 | 0.03966 | 0.29104 | 0.029153 | 0.048552 | 0.028664 | 2017-02-14 | 25 | 26.25 | 2.4905 | 35 | 2.9971 | 0.55844 | 1.5327 | 0.29006 | 0.1728 | 0.10202 | 0.38143 | 0.38143 | 1.4644 | 0.62928 | 9 | 2.7704 | 0.28685 | 0.29512 | 0.14478 | 2.8958 | 0.29006 | 2017-02-14 | 0.067 | 0.0219 | 0.058 | 0.019602 | 0.112 | 0.019697 | 0.043 | 0.016202 | 0.008 | 0.012453
28 | 29.25 | 2017-02-15 | 2.3653 | 35 | 177286 | 783 | 122 | 1237 | 156 | 2112 | 136 | 879 | 101 | 97 | 104 | 0.265 | 0.041289 | 0.41865 | 0.052796 | 0.71478 | 0.046027 | 0.29749 | 0.034182 | 0.032828 | 0.035197 | 0.198 | 0.046738 | 0.36065 | 0.056318 | 0.60278 | 0.050065 | 0.25449 | 0.037827 | 0.024828 | 0.037335 | 2017-02-15 | 28 | 29.25 | 2.3653 | 35 | 3.1782 | 0.73656 | 2.4293 | 0.39629 | 0.093043 | 0.13991 | -0.28923 | -0.28923 | 0.74884 | 0.8364 | 10 | 2.5416 | 0.39689 | 2.317 | 0.19244 | 2.6661 | 0.39629 | 2017-02-15 | 0.067 | 0.0219 | 0.058 | 0.019602 | 0.112 | 0.019697 | 0.043 | 0.016202 | 0.008 | 0.012453
31 | 32.25 | 2017-02-16 | 2.5585 | 35 | 88912 | 273 | 87 | 655 | 109 | 1079 | 98 | 507 | 69 | 17 | 74 | 0.18423 | 0.05871 | 0.44201 | 0.073556 | 0.72814 | 0.066133 | 0.34214 | 0.046563 | 0.011472 | 0.049937 | 0.11723 | 0.062661 | 0.38401 | 0.076123 | 0.61614 | 0.069004 | 0.29914 | 0.049301 | 0.003472 | 0.051466 | 2017-02-16 | 31 | 32.25 | 2.5585 | 35 | 1.7397 | 0.91293 | 2.3457 | 0.47749 | 0.012029 | 0.1783 | #NUM! | #NUM! | -0.60597 | 1.0303 | 11 | 2.5019 | 0.49596 | 2.1895 | 0.24521 | 2.8972 | 0.47749 | 2017-02-16 | 0.067 | 0.0219 | 0.058 | 0.019602 | 0.112 | 0.019697 | 0.043 | 0.016202 | 0.008 | 0.012453
34 | 35.25 | 2017-02-17 | 2.2424 | 35 | 269832 | 694 | 153 | 1847 | 196 | 3326 | 167 | 1362 | 123 | 48 | 129 | 0.15432 | 0.034021 | 0.4107 | 0.043583 | 0.73957 | 0.037134 | 0.30286 | 0.02735 | 0.010673 | 0.028685 | 0.087318 | 0.04046 | 0.3527 | 0.047788 | 0.62757 | 0.042035 | 0.25986 | 0.031789 | 0.0026733 | 0.031271 | 2017-02-17 | 34 | 35.25 | 2.2424 | 35 | 1.4787 | 0.67258 | 2.5832 | 0.35128 | 0.010567 | 0.12361 | #NUM! | #NUM! | -1.1045 | 0.75879 | 12 | 2.6219 | 0.35524 | 2.5445 | 0.17043 | 2.8715 | 0.35128 | 2017-02-17 | 0.067 | 0.0219 | 0.058 | 0.019602 | 0.112 | 0.019697 | 0.043 | 0.016202 | 0.008 | 0.012453
|  |  |  | vial | vial+sed | sediment
|  |  | 1 | 3.5875 | 5.4742 | 1.8867
|  |  | 2 | 3.5751 | 5.4755 | 1.9004
|  |  | 3 | 3.5777 | 5.4509 | 1.8732
|  |  | 4 | 3.6477 | 5.6493 | 2.0016
|  |  | 5 | 3.6218 | 5.843 | 2.2212
|  |  | 6 | 3.592 | 6.2662 | 2.6742
|  |  | 7 | 3.5994 | 6.0603 | 2.4609
|  |  | 8 | 3.6214 | 6.0847 | 2.4633
|  |  | 9 | 3.6232 | 6.1137 | 2.4905
|  |  | 10 | 3.6918 | 6.0571 | 2.3653
|  |  | 11 | 3.6359 | 6.1944 | 2.5585
|  |  | 12 | 3.5772 | 5.8196 | 2.2424
Formulas:
Date = [Date]
Count = [Date]

## age calculation CRS B
CRS Template B: Age/Depth & Mass Sedimentation Rate Calculation
Use Paste Special (value only) to copy data from CRS Temp-A Activity Calculation "Date Counted"
(AK) through "Excess Pb-210 Activity 1s Error" (BB) into this spreadsheet.
Core Location: | Kenosee Lake |  |  | Cumulative Weight is the only input data. | [11 empty] | A(o)= | 8.9579
Core ID: |  |  |  | The 18 columns from CRS Temp-A (including blank columns) | [11 empty] | ±1s error = | 0
Coring Date: | 2016-07-18 |  |  | must be copied. | [11 empty] | variance = | 0
Sampling Year: | 2015 | [5 empty] | Supported | [11 empty] | Excess | [6 empty] | Binford's
Detector No.: | 1 | [5 empty] | Pb-210 | [6 empty] | Excess |  | Cumulative |  | Excess | Pb-210 | [6 empty] | MASS |  |  | Excess
[7 empty] | or | [5 empty] | Excess | Pb-210 |  | Mass | Excess | Pb-210 | Inventory |  | AGE | Uncorrelated | Correlated |  | MASS | Sedimentation | Mass Sed. | Excess | Pb-210
| Depth | Mid-depth | Sample | Sample | Pb-210 | Pb-210 | Ra-226 | Ra-226 | Cs-137 | Cs-137 | LN Pb-210 |  | Pb-210 | Activity |  | at each | Pb-210 | Inventory | below given | Depth | at given | AGE | AGE | DATE | Sedimentation | Rate | Rate | Pb-210 | Cumulative | CO2 | ∆ 13C
Date | Interval | cm | Weight | Height | Activity | 1s Error | Activity | 1s Error | Activity | 1s Error |  |  | Activity | 1s Error |  | Depth | Inventory | 1s Error | depth | Interval | Depth | 1s Error | 1s Error | at given | Rate | 1s Error | Error | Error^2 | Error^2 | (Keeling et | relative to
Counted | (cm) |  | (g) | (mm) | (dpm/g) |  | (dpm/g) |  | (dpm/g) |  |  |  | (dpm/g) |  | (g/cm2) | (g/cm2) | (dpm/cm2) |  | (dpm/cm2) | (cm) | (yr) |  |  | Depth | (mg/cm2/yr) | (mg/cm2/yr) | (%) | (dpm^2/cm^4) | (dpm^2/cm^4) | al 1989) | 1840
[16 empty] | 0 |  |  | 8.9579 | [9 empty] | 0.63471
2017-02-06 | 1 | 2.25 | 1.8867 | 35 | 17.7317 | 1.3855 | 3.0514 | 0.68768 | 1.9293 | 0.24432 | 2.6865 | 2.6865 | 14.6803 | 1.5468 | 0.18258 | 0.18258 | 2.6804 | 0.28242 | 6.2775 | 2.25 | 11.416 | 1.0524 | 0.57578 | 2003.584 | #DIV/0! | #DIV/0! |  | 0.079761 | 0.63471 | #DIV/0! | #DIV/0! | #DIV/0! | 0.33152 | #DIV/0! | #DIV/0! | #DIV/0!
2017-02-07 | 4 | 5.25 | 1.9004 | 35 | 11.0394 | 0.99433 | 2.7589 | 0.51289 | 1.7283 | 0.19481 | 2.1139 | 2.1139 | 8.2806 | 1.1188 | 0.18391 | 0.36649 | 1.5229 | 0.20576 | 4.7546 | 5.25 | 20.337 | 1.7433 | 1.1944 | 1994.663 | #DIV/0! | #DIV/0! |  | 0.042337 | 0.55495 | #DIV/0! | #DIV/0! | #DIV/0! | 1.4266 | #DIV/0! | #DIV/0! | #DIV/0!
2017-02-08 | 7 | 8.25 | 1.8732 | 35 | 7.4991 | 1.2687 | 3.5711 | 0.64706 | 2.94 | 0.26056 | 1.3681 | 1.3681 | 3.928 | 1.4242 | 0.18128 | 0.54777 | 0.71207 | 0.25817 | 4.0426 | 8.25 | 25.546 | 1.3851 | 1.0262 | 1989.454 | #DIV/0! | #DIV/0! |  | 0.06665 | 0.51261 | #DIV/0! | #DIV/0! | #DIV/0! | 1.0531 | #DIV/0! | #DIV/0! | #DIV/0!
2017-02-09 | 10 | 11.25 | 2.0016 | 35 | 7.9416 | 0.80339 | 2.3543 | 0.40642 | 4.002 | 0.15715 | 1.7205 | 1.7205 | 5.5873 | 0.90034 | 0.1937 | 0.74147 | 1.0823 | 0.1744 | 2.9603 | 11.25 | 35.5502 | 2.6032 | 2.1304 | 1979.4498 | #DIV/0! | #DIV/0! |  | 0.030415 | 0.44596 | #DIV/0! | #DIV/0! | #DIV/0! | 4.5388 | #DIV/0! | #DIV/0! | #DIV/0!
2017-02-10 | 13 | 14.25 | 2.2212 | 35 | 7.738 | 0.99539 | 2.0433 | 0.50592 | 7.6786 | 0.23003 | 1.7395 | 1.7395 | 5.6947 | 1.1166 | 0.21495 | 0.95643 | 1.2241 | 0.24001 | 1.7362 | 14.25 | 52.6825 | 4.9546 | 4.4495 | 1962.3175 | #DIV/0! | #DIV/0! |  | 0.057607 | 0.41555 | #DIV/0! | #DIV/0! | #DIV/0! | 19.7984 | #DIV/0! | #DIV/0! | #DIV/0!
2017-02-11 | 16 | 17.25 | 2.6742 | 35 | 5.8849 | 0.90902 | 2.6995 | 0.49546 | 2.3797 | 0.1919 | 1.1586 | 1.1586 | 3.1854 | 1.0353 | 0.25879 | 1.2152 | 0.82437 | 0.26792 | 0.9118 | 17.25 | 73.3597 | 9.1141 | 8.6395 | 1941.6403 | #DIV/0! | #DIV/0! |  | 0.071782 | 0.35794 | #DIV/0! | #DIV/0! | #DIV/0! | 74.641 | #DIV/0! | #DIV/0! | #DIV/0!
2017-02-12 | 19 | 20.25 | 2.4609 | 35 | 3.2829 | 0.97497 | 2.3527 | 0.48027 | 0.70215 | 0.19752 | -0.072298 | -0.072298 | 0.93025 | 1.0868 | 0.23815 | 1.4534 | 0.22154 | 0.25883 | 0.69026 | 20.25 | 82.2967 | 12.069 | 11.5969 | 1932.7033 | #DIV/0! | #DIV/0! |  | 0.066994 | 0.28616 | #DIV/0! | #DIV/0! | #DIV/0! | 134.4881 | #DIV/0! | #DIV/0! | #DIV/0!
2017-02-13 | 22 | 23.25 | 2.4633 | 35 | 3.6077 | 0.9677 | 2.9118 | 0.49828 | 0.53182 | 0.18403 | -0.36242 | -0.36242 | 0.69599 | 1.0885 | 0.23838 | 1.6918 | 0.16591 | 0.25947 | 0.52435 | 23.25 | 91.1233 | 9.2868 | 9.0127 | 1923.8767 | #DIV/0! | #DIV/0! |  | 0.067325 | 0.21917 | #DIV/0! | #DIV/0! | #DIV/0! | 81.2284 | #DIV/0! | #DIV/0! | #DIV/0!
2017-02-14 | 25 | 26.25 | 2.4905 | 35 | 2.9971 | 0.55844 | 1.5327 | 0.29006 | 0.1728 | 0.10202 | 0.38143 | 0.38143 | 1.4644 | 0.62928 | 0.24102 | 1.9328 | 0.35294 | 0.15167 | 0.17141 | 26.25 | 127.0218 | 35.8607 | 35.5228 | 1887.9782 | #DIV/0! | #DIV/0! |  | 0.023003 | 0.15184 | #DIV/0! | #DIV/0! | #DIV/0! | 1261.8712 | #DIV/0! | #DIV/0! | #DIV/0!
2017-02-15 | 28 | 29.25 | 2.3653 | 35 | 3.1782 | 0.73656 | 2.4293 | 0.39629 | 0.093043 | 0.13991 | -0.28923 | -0.28923 | 0.74884 | 0.8364 | 0.2289 | 2.1617 | 0.17141 | 0.19145 | 0 | 29.25 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | 0.036653 | 0.12884 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
2017-02-16 | 31 | 32.25 | 2.5585 | 35 | 1.7397 | 0.91293 | 2.3457 | 0.47749 | 0.012029 | 0.1783 | #NUM! | #NUM! | 0 | 1.0303 | 0.2476 | 2.4093 | 0 | 0.25509 | 0 | 32.25 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | 0.065071 | 0.092184 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
2017-02-17 | 34 | 35.25 | 2.2424 | 35 | 1.4787 | 0.67258 | 2.5832 | 0.35128 | 0.010567 | 0.12361 | #NUM! | #NUM! | 0 | 0.75879 | 0.21701 | 2.6263 | 0 | 0.16466 | 0 | 35.25 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | 0.027114 | 0.027114 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | sedimentation |  | 1964 depth (cm)
[7 empty] | cm / year |  | 14.1291
0.26659

## CSM CRS calc
SAMPLE ID | Excess Pb-210 | Mid Depth | Mid Depth | g/Core area | Weight | Core Area | pCi/cm^2 | Sed Rate | Years Acc. | Date | Pb-210 Flux
| pCi/g | (cm) | (cm) | g/cm^2 | Counted | Counted |  | g/sq cm/yr |  |  | pCi/sq cm/yr
(Normal 0.2-0.9)
Core R15 0.5 cm | 2.7306 | -0.47531 | 0.75 | 0.0858 | 0.8866 | 10.3333 | 0.23429 | 0.5272 |  | 1999 | 1.4396 | 2001.5904
Core R15 1.5 cm | 13.3691 | -1.474 | 1.75 | 0.099455 | 1.0277 | 10.3333 | 1.3296 | 0.10713 | 0.16316 | 1998.8368 |  | 2000.6694
Core R15 2.5 cm | 9.2909 | -2.5659 | 2.75 | 0.094877 | 0.9804 | 10.3333 | 0.8815 | 0.14971 | 1.1051 | 1997.8949 |  | 2000.044
Core R15 3.5 cm | 18.2885 | -3.6429 | 5.25 | 0.11222 | 1.1596 | 10.3333 | 2.0523 | 0.074556 | 1.7452 | 1997.2548 |  | 1998.5387
Core R15 4.5 cm | 24.105 | -4.7149 | 6.4335 | 0.13958 | 1.4423 | 10.3333 | 3.3645 | 0.053918 | 3.2868 | 1995.7132 |  | 1995.9073
Core R15 5.5 cm | 26.2189 | -5.8102 | 7.8785 | 0.14496 | 1.4979 | 10.3333 | 3.8006 | 0.04558 | 5.9856 | 1993.0144 |  | 1992.6498
Core R15 6.5 cm | 17.2951 | -6.8105 | 9.3215 | 0.12867 | 1.3296 | 10.3333 | 2.2254 | 0.062264 | 9.3344 | 1989.6656 |  | 1990.5768
Core R15 7.5 cm | 20.0514 | -7.8075 | 11.0575 | 0.12985 | 1.3418 | 10.3333 | 2.6037 | 0.050253 | 11.4703 | 1987.5297 |  | 1987.9682
Core R15 8.5 cm | 25.7792 | -8.8995 | 12.5025 | 0.1508 | 1.5583 | 10.3333 | 3.8876 | 0.035947 | 14.164 | 1984.836 |  | 1983.6305
Core R15 9.5 cm | 18.3222 | -9.9864 | 13.6585 | 0.11105 | 1.1475 | 10.3333 | 2.0347 | 0.043978 | 18.6593 | 1980.3407 |  | 1981.1029
Core R15 10.5 cm | 17.9159 | -11.0767 | 15.3925 | 0.11698 | 1.2088 | 10.3333 | 2.0958 | 0.041443 | 21.2891 | 1977.7109 |  | 1978.2729
Core R15 11.5 cm | 19.3879 | -12.1821 | 16.8375 | 0.12804 | 1.3231 | 10.3333 | 2.4825 | 0.034935 | 24.2434 | 1974.7566 |  | 1974.5622
Core R15 12.5 cm | 40.9636 | -13.2957 | 24.0625 | 0.22521 | 2.3272 | 10.3333 | 9.2255 | 0.01465 | 28.1349 | 1970.8651 |  | 1955.0563
Core R15 13.5 cm | 20.5793 | -14.4327 | 31.2875 | 0.15133 | 1.5637 | 10.3333 | 3.1142 | 0.015219 | 49.0445 | 1949.9555 |  | 1944.4124
Core R15 14.5 cm | 19.0885 | -15.578 | 38.2235 | 0.16702 | 1.7259 | 10.3333 | 3.1882 | 0.011334 | 60.9403 | 1938.0597 |  | 1927.8814
Core R15 15.5 cm | 14.1837 | -16.6933 | 45.4485 | 0.14157 | 1.4629 | 10.3333 | 2.008 | 0.0082622 | 80.6533 | 1918.3467 |  | 1910.1621
Core R15 16.5 cm | 12.3938 | -17.7853 | 52.6735 | 0.14202 | 1.4675 | 10.3333 | 1.7601 | 0.0044167 | 105.1291 | 1893.8709 |  | 1876.8566
| 8.3507 |  | 59.8985 | 0.1157 | 1.1956 | 10.3333 | 0.9662 | 0.010153 | 91.0593
[6 empty] | Total | 46.2885